PART B: DOCUMENTS TO BE COMPLETED BY TENDERER – TECHNICAL+FINANCIAL OFFER

This document contains the following parts:

- Tender submission form

- Supplies to be provided

Part 1. TENDER SUBMISSION FORM

1	SUBMITTED by (i.e. the identity of the Tenderer)

|  | Name of entity submitting this tender | Nationality |
| --- | --- | --- |
| Tenderer |  |  |

2	CONTACT PERSON (for this tender)

| Name |  |
| --- | --- |
| Address |  |
| Telephone |  |
| E-mail |  |

3	TENDERER'S STATEMENT

I the undersigned hereby confirm that the supplies offered in this tender are in full conformity with the specifications submitted to us by the contracting authority. The detailed description of the supplies offered by us is provided in the next part (Part 2.).

In addition to that I confirm that our company is fully eligible for providing supplies under a contract financed by the EU funds. I confirm that we are not in any of the situations that would exclude us from competing in the EU financed tenders as indicated in the point 2.6.10. 1 in the PRAG Manual.

Furthermore, we agree to abide by the ethics clauses in Section 2.5.6 of the PRAG Manual and have no conflict of interests or any equivalent relation with other short-listed candidates or other parties in the tender procedure at the time of submitting this tender.

4	BANK ACCOUNT INFO

Please indicate the bank account into which payments should be made if the tender is successful

| Account number |  |
| --- | --- |
| Currency |  |
| Bank name |  |
| Address of bank (street, number, city, country) |  |

5	LEGAL ENTITY INFO

| Official name |  |
| --- | --- |
| Legal form |  |
| Main registration number, place (city, country) and date of registration |  |
| VAT number |  |
| Address of head office (street, number, city, country) |  |

6   EXPERIENCE

| Ref no 1 | Project/Contract title |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of legal entity | Overall contract value (EUR) | Name of client | Origin of funding | Dates (start/end) |  |
| Description of project/contract |  |  | Type and scope of services provided |  |  |

Signed on behalf of the Tenderer

| Name |  |  |
| --- | --- | --- |
| Signature/stamp |  |  |
| Date |  |  |

Part 2. TECHNICAL SPECIFICATIONS + TECHNICAL OFFER + FINANCIAL OFFER Instructions: the tenderer to provide date for one or both lots

| Item |  | Specifications required |  | Specifications offered, including brand and country of origin* | Unite price in EUR (VAT excluded)* | Total price in EUR (VAT excluded) * | Evaluation committee’s notes |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 |  | ## Outdoors Camera - Outdoors Camera for Forest Monitoring and Fire Detection ### General Requirements - The offered camera must be new, unused, and suitable for long-term outdoor operation. - The camera must be fixed or semi-fixed, designed for installation in forest and natural environments. - The camera must be intended for visual monitoring and for supporting early detection of natural hazards, in particular forest fires. - The camera must be suitable for continuous and/or event-based monitoring, with at least 24h of video storage period. - The camera or its output must be capable of integration into monitoring, alerting and data management systems used within the project. Installation and commission requirements - The supplier must ensure the installation and testing of the camera in an outdoors area in the region of Central Montenegro. ### Minimum Technical Specifications #### 1. Camera System - Capability to capture and store images and/or video of forest areas for extended periods of time. - Suitable for outdoor environmental monitoring. - Capable of operating under variable lighting conditions, including daylight and low-light scenarios. #### 2. Data Transmission and Integration - Capability for data transmission to a remote system, either: - wired, or - wireless. - Suitable for integration with monitoring and alerting systems, including systems used for early fire detection and environmental observation. #### 3. Operational Conditions - Weather-resistant enclosure suitable for long-term outdoor use in forest environments. - Designed to operate under variable environmental conditions typical of outdoor forest locations. #### 4. Power Supply - Autonomous operation (e.g. battery-powered) and/or - Externally powered operation, depending on installation context. ### Warranty and Service Requirements - Minimum 12-month warranty covering manufacturing defects, with a clear procedure for repair or replacement. - Technical support availability within the country or region. ### Training Requirements - Basic user instruction, if required, covering: - camera operation, - basic configuration, - basic troubleshooting. - Delivery of user documentation in English (or local language, if available). ### Delivery Conditions - Delivery and installation shall be completed within 30 calendar days from contract signing. - All equipment must be delivered in original packaging, including all necessary accessories and documentation. ### Additional Notes - The “or equivalent” principle applies. - The offer must include relevant technical datasheets for the proposed camera. - The tenderer shall provide a declaration or appropriate evidence of compliance with applicable CE requirements.. |  |  |  |  |  |
| TOTAL PRICE |  |  |  |  |  |  |  |  |  |

*To be provided by the offeror

Signed on behalf of the Tenderer

| Name |  |  |
| --- | --- | --- |
| Signature/stamp |  |  |
| Date |  |  |